PROCUREMENT DOCUMENTS

(HEREINAFTER: tender documentation)

OPEN PROCEDURE

(type of procedure)

FOR

»two-photon 3d sted superresolution fluorescence microscope«

(subject)

JN14/16

(internal reference number of the public tender)

CONTENTS

- Invitations to tender

- Instructions for the bidders

- Technical documentation of the public tender

- Details about the bidder – FORM 1

General data about the bidder and the consortium – FORM 1.1

Acting with subcontractors/without subcontractors – FORM 2

- The bid – FORM 3

- Forms for establishing the capacities of a bidder – FORMS 4.1. – 4.6.

- FORM  4.1 – Statement of the bidder for obtaining personal information from

official records

- FORM  4.2 – The subcontractor’s authorisation to direct payments made by the contracting authority to the subcontractor(s) and consent

- FORM 4.3 – List of scientific publications of research

- FORM 4.4.1 – Sample: Promissory note statement for the seriousness of the bid

- FORM 4.4.2 – Sample: Financial guarantee for seriousness of the bid

- FORM 4.5 – Statement of the bidder – Guarantee for warranty obligations

- FORM 4.6 – Sample: Guarantee for warranty obligations

- Sample contract – FORM 5

- INVITATION TO TENDER

The contracting authority, the Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana, tax number SI55560822, registration number 5051606, bank account: 01100-6030344242 registered with the Public Payment Administration (PPA) Ljubljana, on the Public Procurement Portal, on 12 October 2016, under publication number JN006347/2016 and

TED: 2016/S 200-360336, published an award of contract notice (hereinafter public tender). The subject of the contract is a »TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE«, as an open procedure in accordance with Article 40 of the Public Procurement Act (official consolidated text PPA-3, the Official Gazette of the Republic of Slovenia, No. 91/2015; hereinafter PPA-3).

We invite you to submit your bid for this tender in accordance with the instructions for bidding.

The bids have to be prepared in line with the tender documentation, fulfilling all the conditions for the participation in this public tender.

- INSTRUCTIONS FOR THE BIDDERS

  - THE CONTRACTING AUTHORITY

jožef stefan institute is inviting all interested bidders to submit their bids in line with the tender documentation.

  - the code and subject of the public tender

Internal reference number of the public tender: JN14/2016

Subject: »TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE«

  - implementation of the tender

The public tender is carried out on the basis of Article 40 of PPA-3 as an open procedure. The contracting authority shall select the bid and make a contract with the respective bidder on the basis of the conditions and criteria described below.

Before the deadline for the submission of tenders, the contracting authority may amend the tender documents. The contracting authority shall make all the amendments to the tender documentation five days before the current deadline at the latest. Any such amendment shall be an integral part of the tender documentation and shall be submitted through the Public-Procurement Portal. If necessary, the contracting authority shall extend the deadline for submitting the bids to make it possible for the bidders to consider the amendments.  In the case of an extended deadline for submitting the bids all the rights and obligations of the contracting authority and the bidders shall relate to the new dates arising from the extended deadline.

  - ACCESS to the TENDER documentation

The tender documentation is available at http://www.ijs.si/ijsw/Objave

  - the bidding procedure

Any individual or legal entity registered for the service that is the subject of this tender can submit a bid to this tender.

2.6 THE LANGUAGE OF THE BIDS

The public procurement procedure is in Slovene or English.

2.7 PREPARATION OF THE BIDS

To prepare their bids, the bidders should give all the details required with the attached specification. The bids should be valid till 28 February 2017.

2.8 INSURANCE FOR SERIOUSNESS OF THE BID

Submission of a financial guarantee is demanded for the seriousness of the bid in amount of 21.000,00 EUR. Financial guarantee must be valid at least until 31 March 2017, with possibility of extension.

In case the bid does not contain the demanded financial guarantee or the latter is not in accordance with the requirements of contract documents or with sample of a financial guarantee for the seriousness of the bid, the Contract Authority will eliminate bid from further procedure as impermissible.

A financial guarantee for seriousness of the bid has to be unconditional and realized on the first call in next cases:

- if bidder withdraws or changes bid in the period of its validity, which is stated in the bid or

- if bidder, who was in the time of validity of the bid notified by the Contract Authority that the Contract Authority accepts his bid:

- does not complete or rejects the conclusion of the contract in accordance with the instructional clauses to the bidders or

- does not submit or rejects the submission of advance payment guarantee in accordance with the instructional clauses to the bidders.

Submitted financial guarantees for seriousness of the bid will be given back to the unselected bidders after the finality of the public procurement notification.

The Contract Authority has the right to realize the financial guarantee for seriousness of the bid in accordance with provisions of the sample financial guarantee and Sample Contract, which are the integral part of these contract documents.

2.9  A JOINT BID

A bid may be submitted by a group of contractual partners. This group shall submit a Partnership Agreement stipulating how the public contract awarded within this public-procurement procedure will be executed, specifying, in particular, the leading partner authorized to assume, from the Contracting Authority, the obligations, instructions, and possibly also the payments on behalf of, and for the account of, all the partners, as well as the share and type of services/goods to be provided by each individual partner. The Agreement should clearly stipulate that, in relation to the Contracting Authority, all the partners are collectively and individually liable for the realisation of the entire commitment and each part of it, in accordance with paragraph 3 of Article 81 of the PPA-3.

The above-mentioned legal act enters into force if the group of economic operators is selected as the best bidder.

All the partners in a group have to meet the conditions for the recognition of their competencies with respect to their legal statuses (they must meet all the conditions in Section 2.12) and the first point requirement 2.13.1 PROFESSIONAL CAPACITY OF THE BIDDER the compliance with the other contracting authority's conditions for the recognition of competencies shall be examined collectively for the entire group of partners.

2.10 A BID INVOLVING SUBCONTRACTORS

In a subcontracting relationship the main contractor transfers the execution of the whole or a part of the awarded public contract to a third party, namely, a subcontractor. The definition of a subcontractor is given in point 1 of Article 94 of the PPA-3. The bidder could perform award of the contract alone or together with subcontractor(s).

If the tenderer offers the execution of the contract by subcontractor(s), it is required in the bid to:

- provide the list of all subcontractors (each subcontractor should meet all the requirements under point  2.12) and the type of work that the subcontractor will be undertaking,

- provide the list of contact information and the legal representatives of the subcontractors,

- complete ESPD forms for each subcontractor,

- complete FORM 4.2 – The subcontractor’s authorisation to direct payments, if a subcontractor is required.

The main contractor will be required during the realization of the public tender to inform about any changes to existing information specified in the preceding paragraph and to send information about new subcontractors, that are planned to be subsequently integrated into carrying out the work, no later than five days after the change. In the case of the involvement of new subcontractors the main contractor must, together with the notice, provide the information and documents, specified in the second, third and fourth indents of the preceding paragraph and meet all the requirements under point 2.11.

The Contracting Authority will reject any subcontractor, if there are grounds for exclusion from the first, second or fourth paragraphs of Article 75 of the PPA-3, except in the case from the third paragraph of Article 75 of the PPA-3. The Contracting Authority may reject any subcontractor, if there are grounds for exclusion from the sixth paragraph of Article 75 of the PPA-3. The Contracting Authority will not accept the proposal to replace the subcontractor or the inclusion of a new subcontractor if this has an impact on the smooth implementation or completion of the works and if the new subcontractor does not meet the conditions by the contracting authority in the tender documentation. In the case of rejection of the new subcontractor the Contracting Authority will inform the main contractor no later than 10 days from receipt of the proposal.

In the event that the subcontractor, in accordance with and in such a way specified in the second and third paragraph of Article 94 of the PPA-3, requires direct payment, a direct payment to the subcontractor shall be deemed to be obligatory in accordance with this Act and bound by an obligation of the Contracting Authority and the main contractor.

Where the tenderer intends to carry out the contract with the subcontractor, which requires a direct payment in accordance with this Article:

• the main contractor in the contract shall authorize the contracting authority, on the basis of an approved invoice or situation by the main contractor, to pay directly to the subcontractor,

• the subcontractor submits the consent on the basis of which the Contracting Authority instead of the tenderer settles the subcontractor's claim against the tenderer,

• the main contractor to its invoice or situation attaches an invoice or situation of a subcontractor, which was previously approved.

If direct payment to the subcontractor is not required, the contracting authority of the main contractor will require that, not later than 60 days from the payment of the final invoice or situation, the main contractor sends a written statement and a written statement from the subcontractor that the subcontractor has received payment for supplied goods directly related to the subject of the contract.

If the main contractor does not comply with Article 94 of PPA-3, the contracting authority to the National Review Commission submit a proposal on the introduction of the offence’s procedure from point 2 of the first paragraph of Article 112 of the PPA-3.

In the event that the tenderer acts with the subcontractors, the tenderer shall submit the authorisation to direct payments (FORM 4.2) or a statement that the bid does NOT act with subcontractors. In this case the tenderer submits a declaration of the bid without subcontractors (FORM 2).

2.11 PERMISSIBLE BID (completion of the bid)

For a permissible bid the tenderer must submit and put in the following order:

  - FORM 1 – Details about the bidder

  - FORM 2 – Acting with subcontractors/without subcontractors

  - FORM 3 – The bid

  - forms for establishing the capacities of a bidder – FORMS 4.1, 4.3 to 4.6 together with the attached proofs of fulfilling the conditions

  - the completed, signed and stamped sample contract initialled on each page – FORM 5

Only when acting as a consortium and/or with subcontractors the bidder has to submit the following forms:

  - FORM 1.1 – General data about the bidder and the consortium

  - Partnership Agreement (only in the case the bidder acts as a party in a joint venture or a consortium of the bidders)

  - FORM 2 – Acting with subcontractors

  - FORM 3 – The bid

  - forms for establishing the capacities of a bidder – FORMS 4.1 to 4.6 together with the attached proofs of fulfilling the conditions

  - the completed, signed and stamped sample contract initialled on each page – FORM 5

These documents have to be put together in the above order (they can be photocopies), tied together with a string and sealed in such a way that individual sheets or attachments cannot be added, taken away or replaced at a later stage. The submitted forms have to be signed and stamped. The entire documentation has to be printed and signed by the person authorised to represent the bidder.

In line with the 6th paragraph of Article 14 of the Integrity and Prevention of Corruption Act (the Official Gazette of the Republic of Slovenia, Nos. 45/10, 26/11 and 43/11; ZIntPK), the selected bidder is obliged to submit, prior to signing the contract and at the request of the Jožef Stefan Institute, the awarding authority, a statement or details about the natural or legal entities owned by the selected bidder, including the silent partners and business entities that are considered to be associated with the selected bidder in line with the provisions of the law governing companies. If the bidder submits a false statement or gives untrue information about the required details, the contract shall be annulled.

In line with point 6 of Article 91 of PPA-3, the selected bidder shall submit, within 8 days of the receipt of the request, the details about:

- its founders, partners, including silent partners, shareholders, limited partnerships or other owners, as well as the equity shares of these entities;

- business entities that are considered to be associated with the selected bidder on the basis of the law governing companies.

The bidder that submits a bid, under criminal and material accountability, guarantees that all the information and documents are true, and that the enclosed document photocopies are equal to the originals. Otherwise, the bidder is liable to the contracting authority for any damage that is suffered.

2.12 GROUNDS FOR EXCLUSION OF THE BID

| 1. | The economic operator must be excluded by the contracting authority from participation in a public procurement procedure in the case in accordance with Article 77, 79 and 80 of this Act is found out or otherwise aware by the verification, where the economic operator itself or any person who is a member of its administrative, management or supervisory body or has powers of representation, decision or control therein has been the subject of a conviction by final judgment which has the elements of the following criminal offenses that are defined in Penal Code (Official Gazette of RS, no. 50/12 – official consolidated text and 54/15; hereinafter referred to as KZ-1): – Terrorism (Article 108 of the KZ-1), – Financing of Terrorist Activities (Article 109 of the KZ-1), – Incitement and Public Glorification of Terrorist Activities (Article 110 of the KZ-1), – Conscripting and Training for Terrorist Activities (Article 111 of the KZ-1), – Enslavement (Article 112 of the KZ-1), – Trafficking in Human Beings (Article 113 of the KZ-1), – Acceptance of Bribe during the Election or Ballot (Article 157 of the KZ-1), – Violation of Fundamental Rights of Employees (Article 196 of the KZ-1), – Fraud (Article 211 of the KZ-1), – Abuse of a Position of Monopoly (Article 225 of the KZ-1), – False Bankruptcy by Fraud or Business Negligence (Article 226 of the KZ-1), – Defrauding Creditors (Article 227 of the KZ-1), – Business Fraud (Article 228 of the KZ-1), – Fraud to the Detriment of the European Union (Article 229 of the KZ-1), – Fraud in Obtaining Loans or Benefits (Article 230 of the KZ-1), – Fraud in Securities Trading (Article 231 of the KZ-1), – Deception of Purchasers (Article 232 of the KZ-1), – Unauthorised Use of Another's Mark or Model (Article 233 of the KZ-1), – Unauthorised Use of Another's Patent or Topography (Article 234 of the KZ-1), – Forgery or Destruction of Business Documents (Article 235 of the KZ-1), – Disclosure and Unauthorised Acquisition of Trade Secrets (Article 236 of the KZ-1), – Breaking into Business Information System (Article 237 of the KZ-1), – Abuse of Insider Information (Article 238 of the KZ-1), – Abuse of Financial Instruments Market (Article 239 of the KZ-1), – Abuse of Position or Trust in Business Activity (Article 240 of the KZ-1), – Unauthorised Acceptance of Gifts (Article 241 of the KZ-1), – Unauthorised Giving of Gifts (Article 242 of the KZ-1), – Counterfeiting Money (Article 243 of the KZ-1), – Counterfeiting and Use of Counterfeit Stamps of Value or Securities (Article 244 of the KZ-1), – Money Laundering (Article 245 of the KZ-1), – Presentation of Bad Cheques and Abuse of Bank or Credit Cards (Article 246 of the KZ-1), – Use of a Counterfeit Bank, Credit, or Other Card (Article 247 of the KZ-1), – Fabrication, Acquisition and Disposal of Instruments of Forgery (Article 248 of the KZ-1), – Tax Evasion (Article 249 of the KZ-1), – Smuggling (Article 250 of the KZ-1), – Abuse of Office or Official Duties (Article 257 of the KZ-1), – Abuse of Public Property (Article 257.a of the KZ-1), – Disclosure of Classified Information (Article 260 of the KZ-1), – Acceptance of Bribes (Article 261 of the KZ-1), – Giving Bribes (Article 262 of the KZ-1), – Accepting Benefits for Illegal Intermediation (Article 263 of the KZ-1), – Giving Gifts for Illegal Intermediation (Article 264 of the KZ-1), – Criminal Association (Article 294 of the KZ-1). The proof: The bidder submits a completed ESPD form. Instructions for completing a ESPD form: http://www.enarocanje.si/_ESPD/ or https://ec.europa.eu/growth/tools-databases/espd/ |
| --- | --- |
| 2. | The economic operator must be excluded by the contracting authority from participation in a public procurement procedure in the case it is on the deadline for the submission of bids excluded from the public award procedures due to being included in the record of entities with negative references. The proof: The bidder submits a completed ESPD form. Instructions for completing a ESPD form: http://www.enarocanje.si/_ESPD/ or https://ec.europa.eu/growth/tools-databases/espd/ |
| 3. | The economic operator must be excluded by the contracting authority from participation in a public procurement procedure in the case that it does not fulfill the obligations related to taxes and other monetary non-fiscal obligations pursuant to the law regulating the financial administration, collected by the tax authority in line with the provisions of the country in which it has its registered office or in the Member State of the Contracting Authority and have no outstanding liabilities on the day of submitting a bid worth 50 euros or more. As on the day of submitting the bid, it has obtained all accounts of tax deductions for the incomes arising from employment relationships for the period of the last five years. The proof: The bidder submits a completed ESPD form. Instructions for fulfilling a ESPD form: http://www.enarocanje.si/_ESPD/ or https://ec.europa.eu/growth/tools-databases/espd/ |
| 4. | The economic operator must be excluded by the contracting authority from participation in a public procurement procedure in the case it has been, in the last 3 years prior to the expiry of the deadline for submitting the bids, fined twice for an offence related to payment for work with a final decision of the competent authority of the Republic of Slovenia or another Member State or a third country. The proof: The bidder submits a completed ESPD form. Instructions for completing a ESPD form: http://www.enarocanje.si/_ESPD/ or https://ec.europa.eu/growth/tools-databases/espd/ |
| 5. | The contracting authority may exclude from participation in a procurement procedure an economic operator also in the following cases: a) where the contracting authority can in any way prove breach of its obligations of environmental, social and labour law; b) if the above operator has not been initiated against insolvency or compulsory dissolution under the law regulating the insolvency or compulsory dissolution procedures, or liquidation under the law, regulating companies; if its assets or business are not managed by a court; if its business activities have not been suspended; or if no procedure has been initiated against an economic operator under the provisions of another country and no situation has arisen with the same legal consequences; c) if the contracting authority can, by appropriate means, prove severe violation of professional rules that would undermine its integrity; č) if the contracting authority can reasonably conclude, that the economic operator has with other operators entered into an arrangement whose object or effect the prevention, restriction or distortion of competition. It is considered, that such a conclusion of the Contracting Authority is justified, if the authority, responsible for the protection of competition on the basis of the Contracting Authority's application notifies within 15 days the Contracting Authority, that they will start with the infringement proceedings; d) if a conflict of interest under the third paragraph of Article 91 of the PPA-3 cannot be effectively remedied by other, less restrictive measures; e) if the distortion of competition caused by previous economic operators' participation in the preparation of the procurement procedure in accordance with Article 65 of this PPA-3 law cannot be effectively remedied by other, less restrictive measures; f) if past public contracts signed with the Contracting Authority did not involve significant or constant deficiencies in the fulfilment of key obligations, due to which the Contracting Authority would early terminate the order or contract or claim damage compensation or enforce other comparable sanctions; g) if the economic operator is guilty of placing serious misrepresentation in supplying the information required for verification of the existence of grounds for exclusion or compliance with the conditions for participation, or if it failed to disclose this information, or if unable to provide evidence required in accordance with Article 79 of this Act; h) if the economic operator tried to influence the decision of the Contracting Authority or obtain confidential information that could have an advantage in the procurement procedure, or negligently submitted misleading information, that could have a significant impact on decisions concerning exclusion, selection or awarding the contract. The proof: The bidder submits a completed ESPD form. Instructions for completing a ESPD form: http://www.enarocanje.si/_ESPD/ or https://ec.europa.eu/growth/tools-databases/espd/ |
| 6. | The Bidder agrees that a Contracting authority may, as a part of the awarding procedure, obtain data from the official records needed for checking the fulfilment of the requirements from the tender documentation of persons who are authorized to represent the Bidder. The proof: Statement of the bidder for obtaining personal information from official records (FORM 4.1) |

2.13   CONDITIONS FOR PARTICIPATION

2.13.1 PROFESSIONAL CAPACITY OF THE BIDDER

| 1. | The bidder is for the occupation that it takes in the tender registered in one of the professional or trade registers, that are kept in the Member State in which the economic operator is established. The proof: The bidder submits a completed ESPD form and a copy of a registration. Instructions for completing a ESPD form: http://www.enarocanje.si/_ESPD/ or https://ec.europa.eu/growth/tools-databases/espd/ |
| --- | --- |

2.13.2 TECHNICAL CAPACITY OF THE BIDDER

| 1. | The bidder proves that different scientist have published, in notable scientific journals with Thomson Reuters Science Citation Index >5, at least 5 scientific publications involving research, performed with at least 5 different STED microscopes of the bidder. The proof: List of scientific publications of research (FORM 4.3) |
| --- | --- |

2.13.3 OTHER CONDITIONS

| 1. | The bidder submits financial guarantee for seriousness of the bid in amount of 21.000,00 euros. The proof: Promissory note or Surety bond of the insurance company or Bid bond from the bank – FORM 4.4.1 and Promissory note or FORM 4.4.2 |
| --- | --- |

In all cases 1 copy of a proof is sufficient, even when a particular proof is mentioned several times.

With respect to all the above documents, which can be submitted as photocopies, the contracting authority can, at a later stage, request the original copies that the bidder has to submit for viewing to the contracting authority in a period of 3 days. Irrespective of the required age of the documents, they have to disclose the status of the bidder that is legally relevant with respect to the conditions on the day of submitting the bid.

For the bidders from Slovenia the contracting authority shall obtain the data from the official records by itself and on the basis of the received consent of the bidder. The contracting authority can also consider the data from the official records that the bidder obtained or submitted during the other public-tender procedures if these records are not older than 4 months.

If the country where the bidder is established cannot issue the proofs, or documents, required by the tender documentation, the bidder can submit an appropriate sworn statement given by the bidder or by a witness in the presence of a judicial or administrative authority, a notary, or an authorised body representing the commercial entities in the bidder’s country.

2.14 PROCEDURES AND THE MODE OF ASSESSING THE BIDS

The selection board will classify the timely submitted bids in line with the criteria, verify in terms of the appropriateness of ensuring the awarding authority requirements, provided that all the requirements are fulfilled.

For this to be the best according to the criteria, the contracting authority will check whether there are grounds for excluding the most favourable bidder and whether the bidder meets the conditions for participation.

The contracting authority may, before selection, be required to provide adequate evidence to prove the facts stated in the declarations submitted in the tender. The Contracting Authority will before adopting a decision to award the contract check the existence and content of the data from the most advantageous bids and other information from the bid.

2.15 THE BIDDING PRICE

All the prices have to be expressed in euros, covering all the costs for the realisation of the relevant public contract. The final price has to include all its constituent elements. The VAT has to be indicated separately (for the bidders from Slovenia).

In its bid a bidder enters prices for individual items in euros, with a maximum of two decimal places. If a bidder fails to enter the price, it is assumed that the price is zero (0) euro. The bidder may not change the bid later.

2.16 CRITERIA FOR ASSESSING AND EVALUATING THE BIDS

The criterion for the best bidder selection is the most economically advantageous bid, determined on the basis of the lowest bidding price in euros without the VAT.

In the case of two or more bidders having equally economically advantageous bids, the bidder with the more favourable warranty terms and conditions will be selected.

If the bids are tied after this, the bidder with the shorter delivery date will be selected.

2.17 QUERIES RELATING TO THE TENDER DOCUMENTATION

Communication with the bidders concerning the queries about the tender and the preparation of a bid shall be organised through the Public-Procurement Portal of the Official Gazette of the Republic of Slovenia: www.enarocanje.si.

Information provided by the contracting authority or through the procurement portal shall be, in accordance with paragraph 2 of Article 67 of PPA-3 understood as an amendment, supplement or clarification regarding the award of the contract, if the content of this additional information results in changing this documentation, or if the explanation eliminates the ambiguity of the statements in this document or public announcement.

2.18 DEADLINES FOR ANSWERING QUERIES ABOUT THE TENDER DOCUMENTATION

Queries about the tender documentation or any other query about the call for tender placed through the Public-Procurement Portal by 10.00 am on 15 November 2016 shall be considered as timely. After this time, the contracting authority shall not answer any queries about the tender.

2.19 SUBMISSION AND DELIVERY OF THE BID

A bidder shall fill in the form included in APPENDIX 2 – SUBMISSION OF THE BID, entering all the required details, and stick the form to the envelope in which the bid shall be sent.

Address for the submission of the bids:

Institut “Jožef Stefan” – VLOŽIŠČE, Jamova cesta 39, SI-1000 Ljubljana, Slovenia

The timely submitted bids will be those delivered by 10.00 am on 23 November 2016 or sent by post as registered mail with an acknowledgement of receipt and received by the contracting authority by the above date.

2.20 PREPARATION AND MARKING OF THE BID

The bidding documentation has to be typed or written with legible and indelible writing. All the documents have to be tied together with a string and sealed in such a way that they cannot be taken away, except for the form included in APPENDIX 2 – SUBMISSION OF THE BID, that the bidder shall stick to the envelope. If the bidding documents are not tied with a string, the contracting authority shall tie them during the opening of the bids.

It is desirable that the bidder submits the bidding documentation in a folder of a size suitable for the documents and in such a way that individual sections are separated by ordinary sheets or cardboard sheets with individual headings of the sections or the numbers of the sections written on them. In the case when a bidder submits the bid in several folders, these should be marked with serial numbers. In the case of a joint bid or a bid with a subcontractor, the bidder should first file its own individual documents, followed by the documents of the other bidder involved in the joint bid or the documents of the subcontractor (e.g., first the statement of the bidder, then the statement of the subcontractor, etc.).

The bidder has to put the bidding documentation in an envelope, i.e., in packaging of an appropriate size. A filled in form from APPENDIX 2 – SUBMISSION OF THE BID – should be stuck to the envelope.

2.21 THE PUBLIC OPENING OF THE BIDS

The public opening of the bids will be held on 23 November 2016 at 12:00 at the JOŽEF STEFAN INSTITUTE, Jamova cesta 39, Ljubljana – in the conference room.

The representatives wishing to be present at the opening, have to present a letter authorising them to attend the event to the selection board prior to the opening of the bids.

2.22 VALIDITY OF THE BID

The bid has to be valid till 28 February 2017.

Variants are not permitted.

2.23 legal instruction

Legal protection of the bidders, the contracting authority and the public interest in the procedure for awarding the concerned public contract is governed by the Legal Protection in Public Procurement Procedures Act (the Official Gazette of the Republic of Slovenia, Nos. 43/2011, 63/2013; hereafter referred to as LPPPPA).

A request for revision of the call for tender and/or the tender documentation, may be filed in 8 working days from the date of publication of the call for tender.

A request for legal protection relating to the published call for tender or tender documentation is not possible if the concerned bidder or any other bidder could have notified the contracting authority, through the Public-Procurement Portal, about an alleged violation but did not use this option. It is considered that the concerned bidder or any other bidder could have drawn attention to the alleged violation if, during the public tendering, the notification about the tender, on the basis of which the bidders submit their bids, was published on the Public-Procurement Portal.

The applicant shall pay a tax of 3,500.00 euros to the bank account of the Ministry of Finance, No. SI56 0110 0100 0358 802, opened at the Bank of Slovenia, Slovenska 35, 1505 Ljubljana, Slovenia, SWIFT CODE: BS LJ SI 2X; IBAN: SI56011001000358802 – a tax for a revision of public procurement.

A request for revision shall be filed in writing directly with the contracting authority, sent by post as registered mail, or sent off as registered mail with an acknowledgement of receipt, or electronically in line with the 1st paragraph of Article 24 of LPPPPA. At the same time the applicant for revision shall send a copy of the revision request also to the Ministry responsible for public procurement.

- TECHNICAL DOCUMENTATION OF THE PUBLIC TENDER

3.1 Abbreviations

ADC	analogue-to-digital converter

APD	avalanche photodiode

CCD	charge coupled device

DIC	differential interference contrast

FLIM	fluorescence lifetime imaging

FWHM	full width at half-maximum

FOV	field of view

HDD	hard disk drive

I/O	input/output

LED	light emitting diode

MP	megapixels

NA	numerical aperture

NIR	near infrared

PC	phase contrast

PMT	photomultiplier tube

PSF	point-spread function

QE	quantum efficiency

RAM	random-access memory

ROI	region of interest

SDK	software development kit

SSD	solid-state drive

STED	stimulated emission depletion

t	time

TCSPC	time-correlated single photon counting

VIS	visible

WD	working distance

XY	perpendicular to the optical axis

Z	along the optical axis

1PE	single-photon excitation

2PE	two-photon excitation

3.2 Subject of the tender/description of the equipment

The subject of the public tender is a superresolution optical microscope, enabling single- or double-photon excitation of fluorescence, and achieving 2D/3D resolution below 30/90 nm based on the STED approach. In addition, the instrument must allow superresolution fluorescence lifetime imaging, full control over the polarization of the light, as well as additional upgrades and modifications of to the lasers, optics, detectors, and control software.

3.3 Technical specifications

3.3.1 Functionality of the instrument

The instrument must be able to perform the imaging on the same part of a microscopic specimen in the following modalities:

- bright-field (transmission) microscopy,

- wide-field fluorescence microscopy,

- confocal fluorescence microscopy,

- 2PE fluorescence microscopy,

- 2D STED fluorescence microscopy,

- 3D STED fluorescence microscopy,

- FLIM.

For the modes (3-7) there must be possiblities to add later the

- full control over the polarization of the corresponding light paths icluding detection light

In this respect, the following specifications of the individual modules must be met:

3.3.2 microscope

- inverted microscope body

  - fully motorized

  - at least two optical I/O in the range of infinity optics between the objective and the tube lens

    - mirrors/dichroics/filters on a motorized rotating turret

    - at least 8 positions for different dichroics/filters on a turret for each I/O

    - housing of the filter turret sealed against liquids

  - at least one optical I/O with converging optics (besides ocular) to which the laser-scanning confocal unit will be connected

  - light splitting between the optical I/O and ocular in different ratios:

    - 100% to I/O, 0% to ocular

    - 0% to I/O, 100% to ocular

    - splitting to both I/O and ocular (50:50 or 80:20)

  - upgrade possibilities with elements for PC and DIC microscopy

  - control by computer and touchpad

  - mass >50 kg (including objectives, turrets, ocular, stage, etc.)

- motorized stage (XY)

  - stroke of at least 70 mm × 50 mm

  - max speed >25 mm/s

  - step <0.3 m

  - holder for standard microscopy slides

  - possibility of changing holders (for petri dishes, microtiter plates, incubator, etc.)

  - control by computer and rotating knobs/joystick

  - max load >0.5 kg

- motorized focus

  - stroke >1 cm

  - precision <15 nm

  - max speed >2.5 mm/s

- motorized switching between objectives

  - at least 6 places for objectives

  - turret sealed against liquids

  - switching time between adjacent objectives <5 s

- ocular

  - magnification 10×

  - manually adjustable separation

  - diopter power correction

- illumination for transmission microscopy

  - manual tilt of the illumination pillar by at least 30°

  - halogen lamp with power of at least 100 W (adjustable) or a LED source comparable in intensity and colour of the output light

  - manual shutter

  - at least 4 filter holders

  - condenser (manual or motorize) on a stand with a vertical stroke of at least 80 mm

- at least 4-colour LED illumination for epifluorescence

  - wavelenght range between 400 and 650 nm

  - light output power of each diode > 80 mW

  - adjustable intensity of each diode in its full range 0–100%

  - intensity adjustment step <5% of the full intensity

  - temporal instability of illumination <0.5%

  - appropriate combination of filters and dichroics according to LED 

    - at least 2 sets – one for green and one for red emitting dyes

    - centres of the transmitted spectral bands around 520 and 660 nm

    - spectral bandwidths of emission filters within 40–80 nm

    - standard dimensions of filters and dichroics (circular: diameter 25 mm, rectangular: 25 mm × 36 mm)

- monochrome camera for the detection of transmitted or epifluorescent light

  - chip size at least 1/2''

  - resolution at least 1 MP

  - max acquisition frequency at full resolution > 15 fps

  - dynamic range at least 12 bit

  - control by the program for the whole instrument or with dedicated software

3.3.3 objectives

- magnification 100×

  - oil immersion

  - NA >1.4

  - WD >0.1 mm

  - use with standard coverslips (thickness 0.17 mm)

  - suitable for super-resolution microscopy

  - sealed against liquids

  - spring

- magnification 60×

  - water immersion

  - NA >1.2

  - WD >0.25 mm

  - transmittance within wavelenght range 400–1300 nm >0.3

  - correction ring for compensation of different coverslip thickness in the range 0.13–0.20 mm

  - suitable for super-resolution microscopy

  - sealed against liquids

  - spring

- magnification 10×

  - air (no liquid immersion)

  - NA >0.25

  - WD >8 mm

  - suitable for transmission and epifluorescence microscopy

3.3.4 2D beam scanner

- max line frequency >2 kHz, acquistion time of an image of 512 × 512 pix at 15 nm pixel size <0,25 s

- size of the FOV with 100× objective at least 80 µm × 80 µm

- compensation of image distortions towards the edges of the FOV

3.3.5 VIS laser system for (at least) two-colour 1PE of red fluorescent dyes

- at least 2 wavelenghts between 550–650 nm

- wavelenght separation >70 nm (at least for 2 excitation wavelenghts

- pulse duration <200 ps

- max pulse repetition rate >30 MHz

- max average power at max repetition rate >300 µW

- continuously adjustable power of the excitation light through the program

- accessible space for optical elements to control polarization of each of the lasers

3.3.6 NIR laser system for 2PE of fluorescent probes

- laser with wavelenghts tunable within at least 800–1300 nm

- rate of wavelenght switching at least 40 nm/s

- at least 2 simultaneous physically separated beams of different wavelenghts

- pulse duration <200 fs  within the whole wavelenght range

- pulse frequency adjustable within 5 kHz to 80 MHz

- average output power >800 mW within the whole wavelenght range

- continuously adjustable power of the laser light

- accessible space for optical elements to control the polarization of each of the lasers

- accessible space for elements to redirect the beam away from the instrument

3.3.7 STED (2D/3D) module for red fluorescent dyes

- STED laser with wavelenght within 750–800 nm

- pulse duration within 0.5–5 ns

- max repetition rate >30 MHz

- average output laser power >1 W

- continuously adjustable power of the laser light through the control program

- synchronization with excitation lasers, scanner, and detectors

  - adjustable delay with respect to other lasers and detectors with resolution <100 ps

- adjustable PSF for compensation of distortions within the sample

- alignment of the STED beam with excitation beams through software or automatic

- final spatial resolution of the system

  - in 2D STED mode (XY) <30 nm

  - in 3D STED mode (XYZ) <100 nm (isotropic)

  - freely adjustable (in 3D STED also XY against Z)

- accessible space for optical elements to control polarization

3.3.8 detection

- confocal pinhole of variable size at least within 30–1000 µm

- 2 APD or hybrid single photon-counting detectors

  - QE >0.6 within wavelenght range 600–700 nm

  - dark current <300 counts/s

  - temporal resolution of single photon detection <0.5 ns

  - pulse width <15 ns

  - dead time <30 ns

  - saturation >35 Mcounts/s

  - probability of afterpulsing <1%

- dischroics and filters for two detection channels

  - optimized with respect to the wavelenghts of excitation in the visual part of the spectrum

  - user-exchangeable

  - standard dimensions (circular: diameter 25 mm, rectangular: 25 mm × 36 mm)

- additional detector for PSF optimization

  - light sensitivity >5 MV/lm

  - dynamic range at least 12 bit

- TCSPC unit for FLIM

  - sampling <1 ps

  - time resolution of the electronics <3 ps

  - number of timing bins >4k

  - max count rate >5 MHz

  - fully integrated into control software

- accessible space for optical elements to control polarization

3.3.9 control, connectivity, synchronization

- sync resolution <100 ps for excitation, STED, and (gated) detection

- at least 16 logical detection channels (freely assignable to physical detectors, gating settings, routing signals, etc.)

- control of at least 6 lasers

- at least 2 sync input signals from external devices

- analogue and digital I/O ports for external devices

- SDK for integration of external devices and implementing additional analysis routines

- control panel

  - at least 4 rotating knobs, user-programmable

  - at least 4 push-buttons, user-programmable

3.3.10 software

- full control of motorized/electronic components

- freely customizable acquisition routines (delays, gating, dimensions)

- handling of multidimensional experiments

  - at least 4D

  - displaying stacks of any 2D cross-section along the recorded axes

- handling of at least 16 TCSPC channels (based on routing signal)

  - ability to display as additional dimension or in individual stacks

  - raw signal streaming to disk

  - including tags and optionally measurement meta-data in the data file

  - user calibration of each channel’s delay offset possible

- data analysis

  - intensity in ROI

  - intensity along a line

  - deconvolution

  - fluorescence lifetime

- exporting of images and analysis results into a common image or data format (e.g., tif, gif, png, jpg, and txt, dat, csv)

- ability to lock certain features/settings to different user profiles

- saving of settings for different experiments

- licence transferable to a new control computer

- free licences for offline analysis on personal computers

- License includes warranty to provide free critical updates/upgrades to ensure compatibility with the currently available operating system and its updates for at least 3 years; after that, the license must enable the machine to work without updates to the operating system and drivers if the compatibility with the operating system and its updates cannot be maintained.

3.3.11 high-end PC workstation

- RAM

  - size at least 16 GB

  - type DDR4 (or faster)

  - file transfer >2 GT/s

- fast multi-core processor

  - at least 4 cores

  - at least 8 threads

  - frequency >3 GHz

  - cache memory at least 8 MB

- high-performance graphical card

  - CUDA support

  - at least 1500 CUDA cores

  - memory at least 4 GB GDDR5

  - base frequency > 1 GHz

- disc

  - SSD 256 GB or larger

  - HDD 1 TB or larger

  - HDD frequency >7000 rpm

  - connection SATA3

- I/O

  - USB3 at least 3×

  - USB in total at least 5×

  - digital video (DVI, HDMI, DP) at least 2×

  - at least 1 free PCIe place

  - audio

  - Gigabit Ethernet

  - Firewire 800

- monitor

  - 30''or larger (or 2 smaller with equivalent surface)

  - refresh frequency >50 Hz

  - gamut coverage at least 100% sRGB

  - colour depth at least 30 bit

  - luminosity >250 cd/m2

- operating system

  - 64-bit

  - Windows, version 7 or 10, preferred

- external devices

  - full-size keyboard

  - cordless mouse

3.3.12 physical properties

- dimensions of the system on optical table preferably not more than 1.2 m × 2.5 m

- light-tight optical path

- compliance with all laser-safety standards (safety interlocks etc.)

- electric connection 230 V/50 Hz

- operation in a room with temperature stabilization within 1 K in the range 20–25 °C

3.3.13 customization

- additional optical input port for optical tweezers in the infinity optics part (e.g., at one of the ports for epifluorescence)

- accessible space of at least 80 cm × 50 cm for user-configurable excitation/detection schemes, switchable from the main optical path by 3 flip mirrors (2 before and 1 after VIS-laser dichroics towards the detectors)

- accessible space for additional optical elements to control polarization of each excitation laser, STED laser and detected light (in any laser-scanning mode)

- accessible space for optical elements to divert NIR laser beam before the instrument

- at least 2 optical input ports for external lasers (free space or fibre-coupled)

- at least 1 optical input port towards the detectors

- at least 1 optical output for additional detectors

- removable dicroics for VIS, STED and NIR lasers (user-responsible realignment)

3.3.14 compatibility with upgrades by the provider

- 2–4 additional VIS excitation lasers

- 2D/3D STED module for green dyes (STED wavelenght within 550–600 nm)

3.4 acceptance tests

- all connected modules (microscope, stage, scanner, lasers, SLM, pinhole exchanger, detectors, etc.) accessible by software

- laser power at the objective entrance pupil in accordance with their specifications

- scanning range centred with the FOV of the camera, both calibrated to real units

- PSF at excitation with all the lasers (VIS and NIR excitation, STED), measured in the scattering mode with sub-diffraction sized metal beads at various points across the FOV, with both objectives (60× and 100×):

  - diffraction-limited size: FWHM smaller than ½ of the respective excitation wavelenght (e.g. FWHM < 300 or 400 nm for excitation light at 600 and 800 nm, respectively)

  - symmetric in XY

  - not inclined by more than 10° relative to the optical axis (Z)

  - aligned within 40 nm (XY) / 80 nm (Z) or better

- detectors and pinholes aligned

- spatial resolution demonstrated with immobilized fluorescent beads of a known size (diameter <25 nm) for every suitable combination of excitation and STED lasers:

  - XY resolution in confocal mode better than 300 nm

  - XY resolution of 30 nm or better in 2D STED

  - isotropic resolution of 90 nm or better in 3D STED

All acceptance resolution tests should be performed as follows:

- intensity profile along a line across a sample object on a non-processed image is taken

- FWHM of the intensity profile is determined by fitting of a Gaussian function

- the process is repeated for at least 10 sample objects from at least 3 independently acquired images

- 50% of the obtained values must be lower than or equal to the required

- max scanning speed demonstrated, e.g., by measuring the time of the image acquisition of an image 512 × 512 pix at 15 nm pixel size which should be less than 0,25 s

- sync and gating of lasers/detectors demonstrated

- FLIM demonstrated (e.g., by measuring the lifetimes of two different probes), according to the required specifications above

- full functionality of the software demonstrated, according to the required specifications above (control, acquisition, analysis, exporting)

- customization demonstrated according to the requirements above: accessible optical components, additional space and ports

3.5 OTHER REQUIREMENTS

3.5.1 documentation

- the price should include shipping, testing, and training at the customer's site

- system must have the CE label

- documentation and manuals provided, including basic optical schemes and description of electronic interface to connect external devices, optical checks and procedures to maintain the machine working at the required characteristics

3.5.2 delivery

- installation at the customer's site to full functionality (acceptance tests above)

- at least one-day of hands-on training for researchers on the installed instrument at the customer’s site

3.5.3 support

- online support for hardware and software issues (at least weekdays 9am–3pm)

- response time for service at the customer’s site of 5 working days or less

- warranty period at least 1 year

- expert suggestions on experimental issues (sample preparation, probes and labelling, etc.) by email or telephone

FORM  1

4. DETAILS ABOUT THE BIDDER

Details about the bidder:

| Name of the bidder: |  |
| --- | --- |
| Address of the bidder: |  |
| Legal representative of the bidder: |  |
| Contact person: |  |
| E-mail of the contact person: |  |
| Telephone number: |  |
| Fax number: |  |
| Website: |  |
| VAT identification number: |  |
| Bank account and the name of the bank: |  |
| Number of the entry in the register of companies: |  |
| Person responsible for signing the contract: |  |

On the basis of a public tender published on the Public Procurement Portal, on 12 October 2016, under publication number JN006347/2016 and TED: 2016/S 200-360336 we are applying to your invitation to the public tender and enclose our tender documentation in accordance with the Instructions for the bidders.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: Form must be completed and attached to the bid, if you submit bid individually.

FORM 1.1

GENERAL DATA ABOUT THE BIDDER AND THE CONSORTIUM

Details about the group leader in a joint bid:

| Name of the bidder: |  |
| --- | --- |
| Address of the bidder: |  |
| Legal representative of the bidder: |  |
| Contact person: |  |
| E-mail of the contact person: |  |
| Telephone number: |  |
| Fax number: |  |
| Website: |  |
| VAT identification number: |  |
| Bank account and the name of the bank: |  |
| Number of the entry in the register of companies: |  |
| Person responsible for signing the contract: |  |

On the basis of a public tender published on the Public Procurement Portal, on 12 October 2016, under publication number JN006347/2016 and TED: 2016/S 200-360336 we are applying to your invitation to the public tender and enclose our tender documentation in accordance with the Instructions for the bidders.

Contract partners in a joint bid and description of work:

| No. | Name of the partner | Description of the work | Value | Share in % |
| --- | --- | --- | --- | --- |
| The group leader in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |
| Contract partner in a joint bid |  |  |  |  |

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: Form must be completed and attached to the bid, if you submit joint bid as

consortium.

FORM 2

ACTING WITH SUBCONTRACTORS/WITHOUT SUBCONTRACTORS

Acting as a bidder we are submitting the bid:

|  | a) individually, without subcontractors |
| --- | --- |
|  | b) with the following subcontractors: |

| No. | Subcontractors |
| --- | --- |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |
| 5. |  |

The bidder shall complete the table ”Part of the execution of the contract, which will be performed by a subcontractor” for each subcontractor as many times as different parts of the execution of the contract will be taken by each subcontractor.

Part of the execution of the contract that will be performed by a subcontractor:

| Subcontractor |  |
| --- | --- |
| Description of work |  |
| Quantity |  |
| Value |  |
| Place |  |
| Time of completion |  |

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: Form must be completed and attached to the bid, regardless the fact if you submit

bid individually or with a joint bid with subcontract.

FORM 3

5. BID

Details about the bidder:

| Name: |  |  |  |
| --- | --- | --- | --- |
| Address: |  |  |  |
| VAT identification number: |  |  |  |
| Bank account and the name of the bank: |  |  |  |
| Contact person: |  |  |  |
| Contact person's E-mail address: |  |  |  |
| Person responsible for signing the contract: podpis pogodbe: |  |  |  |

JOŽEF STEFAN INSTITUTE

Jamova cesta 39

1000 Ljubljana

On the basis of the invitation to tender No.  04720/2016 we are pleased to submit the following bid:

| BID No.. Place:. Date:. |
| --- |
| Type of purchasing: |  | Service |  | Material | x | Equipment |  | Construction |  |

| No. |  | Description of the goods |  |  |  |  |  |  |  | Quantity | Price | Discount % | Value |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE |  |  |  |  |  |  |  | 1 Set |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | TOTAL |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | DISCOUNT |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | VALUE without VAT (EUR) |  |  |  |  |
|  | Delivery time (in weeks): |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Payment terms: |  |  |  |  | - 20% payment in advance after receipt of the signed contract and the order, payable on receipt of proforma invoice and an advance payment guarantee - 60% payment payable on receipt of final invoice after delivery of the equipment, - 20% payment payable after installation and technical acceptance, on receipt of final invoice and warranty guarantee |  |  |  |  |  |  |  |  |
|  | Delivery term: |  |  | DAP Ljubljana (price includes delivery to the client's address) |  |  |  |  |  |  |  |  |  |  |
|  | Warranty period (at least 12 months): |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Validity of the bid: |  |  |  | 28 February 2017 |  |  |  |  |  |  |  |  |  |

MANDATORY ENCLOSURE:

Brochures including a complete technical description and specification of the equipment, and the supplier’s Offer/Quotation with technical specifications and a list of components included.

|  |  | The bidder: |
| --- | --- | --- |
|  |  | (signature of the representative) (name and surname) |

6. FORMS FOR ESTABLISHING THE CAPACITIES OF A BIDDER

- FORM  4.1 – Statement of the bidder for obtaining personal information from

official records

- FORM 4.2 – The subcontractor's authorisation to direct payments made by the contracting authority to the subcontractor(s) and consent

- FORM 4.3 – List of scientific publications of research

- FORM 4.4.1 – Sample: Promissory note statement for the seriousness of the bid

- FORM 4.4.2 – Sample: Financial guarantee for seriousness of the bid

- FORM 4.5 – Statement of the bidder – Guarantee for warranty obligations

- FORM 4.6 – Sample: Guarantee for warranty obligations

FORM 4.1

STATEMENT OF THE BIDDER FOR OBTAINING

PERSONAL INFORMATION FROM OFFICIAL RECORDS

| Name of the bidder: |  |
| --- | --- |
| Address of the bidder: |  |
| Municipality of the bidder: |  |
| Number of the entry in the register of companies: |  |
| VAT identification number: |  |

We hereby authorise the JOŽEF STEFAN INSTITUTE, Jamova cesta 39, 1000 Ljubljana to obtain a statement from the Ministry of Justice relating to the criminal-record data on natural persons for the purpose of checking the fulfilment of the requirements of the public tender for “TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE”, published on the Public Procurement Portal, on 12 October 2016, under publication number JN006347/2016 and TED: 2016/S 200-360336  for all natural persons, authorized as legal representatives:

a)

| Name and surname: |  |
| --- | --- |
| Date of birth: |  |
| Place of birth: |  |
| Municipality of birth: |  |
| Country of birth: |  |
| Permanent/temporary address: |  |
| Signature |  |

b)

| Name and surname: |  |
| --- | --- |
| Date of birth: |  |
| Place of birth: |  |
| Municipality of birth: |  |
| Country of birth: |  |
| Permanent/temporary address: |  |
| Signature |  |

c)

| Name and surname: |  |
| --- | --- |
| Date of birth: |  |
| Place of birth: |  |
| Municipality of birth: |  |
| Country of birth: |  |
| Permanent/temporary address: |  |
| Signature |  |

Under criminal and material accountability, we declare that the above information is true and correct. If the contracting authority has reasonable suspicion that the bidder, irrespective of the classification of its bid, submitted false declarations or documents, the contracting authority will submit to the National Review Commission a proposal for infringement proceedings from Article 112 of PPA-3.

This statement is an integral part of, and an annex to, the bidder’s application relating to the public tender published on the Public Procurement Portal.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM  4.2

THE SUBCONTRACTOR’S AUTHORISATION TO DIRECT PAYMENTS

MADE BY THE CONTRACTING AUTHORITY TO THE SUBCONTRACTOR(S)

AND CONSENT

| Name of the subcontractor: |  |
| --- | --- |
| Address of the subcontractor: |  |
| Municipality of the subcontractor: |  |
| Legal representative of the subcontractor: |  |
| Number of the entry in the register of companies: |  |
| VAT identification number: |  |

In accordance with paragraph 5 of Article 94 of PPA-3 we declare (tick):

YES, we authorise the Contracting Authority to make direct payments;

NO, we do not require direct payments by the Contracting Authority.

Subcontractors who authorize the Contracting Authority to make direct payments and above tick YES, by signing this statement give consent to the Contracting Authority to pay the subcontractors' claims against the bidder.

If the bidder is carrying out the contract with subcontractors, it must provide a list of all the subcontractors and the type of work that the subcontractors will be undertaking, contact information and legal representatives of subcontractors and complete ESPD form for this subcontractors in accordance with Article 79 of PPA-3 and accompanied by a request for direct payment to the subcontractor if requested by the subcontractor.

|  |  | The subcontractor: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

The contracting authority’s note: Form must be completed and attached to the bid, for each subcontractor.

The bidder, who does not act with subcontractors, does not need to submit this form.

FORM 4.3

LIST OF SCIENTIFIC PUBLICATIONS OF RESEARCH

Acting as a bidder, we hereby declare that different scientists have published, in notable scientific journals with Thomson Reuters Science Citation Index >5, at least 5 scientific publications involving research, performed with at least 5 our STED microscopes.

|  | Article title | Authors | Name of the journal | Volume and no. of the journal | Page | Year of publication |
| --- | --- | --- | --- | --- | --- | --- |
| 1. |  |  |  |  |  |  |
| 2. |  |  |  |  |  |  |
| 3. |  |  |  |  |  |  |
| 4. |  |  |  |  |  |  |
| 5. |  |  |  |  |  |  |
| 6. |  |  |  |  |  |  |
| 7. |  |  |  |  |  |  |
| 8. |  |  |  |  |  |  |
| 9. |  |  |  |  |  |  |
| 10. |  |  |  |  |  |  |

This statement is an integral part of, and an annex to, the application to the public tender

for the supply of

»TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE«

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 4.4.1

SAMPLE: PROMISSORY NOTE STATEMENT FOR THE SERIOUSNESS OF THE BID

The bidder:

…………………………

…………………………

…………………………

PROMISSORY NOTE FOR THE SERIOUSNESS OF THE BID

STATEMENT

Referring to our Bid No. ........................ dated .................. enclosed, please find our blank promissory note for the protection of our seriousness of a tender No. JN006347/2016 and TED: 2016/S 200-360336 for the »TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE« in the amount of € 21,000.00.

Authorised person for signature on promissory note:

……………………………………………………………………………………………………………….

(name and surename)						       (signature)

In case we:

- withdraw or amend our bid in the period of its validity, or

- supply false information, or

- refuse to conclude the contract, or

- refuse to submit the advance payment guarantee in accordance with the terms of the contract.

we authorize Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana, to complete our blank bill for the amount of our obligation with the clause “without protest”, and that the promissory note depond at ....................................................... or in any other our commercial bank where we have opened our bank account.

DEMAND PROMISSORY NOTE

Irrevocably and unconditionally we authorize ................... bank or any other commercial bank, where we have opened our bank account, to liquidate promissory note and charge our bank account, for the  amount of ..................

This declaration is valid until the expiry date of the offer.

| (place, date) | (stamp) | (signature of the representative) |
| --- | --- | --- |
|  |  | FORM 4.4.2 |

SAMPLE: FINANCIAL GUARANTEE FOR SERIOUSNESS OF THE BID

(in line with the Uniform Rules for On-Demand Guarantees, EPGP 758)

The head of the information about the guarantor (insurance company/bank) or SWIFT key

To: Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana

Date:                     (enter the date of issue)

TYPE:                (enter the type of guarantee: Surety bond of the insurance company/Bid bond from the bank)

NUMBER:          (enter the number of guarantee)

GUARANTOR:   (enter name and address of the insurance company/bank in the place of issue)

CLIENT:          (enter name and address of the client of the guarantee, i.e., the bidder in the public-procurement procedure)

BENEFICIARY: Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana

CORE SERVICE: the contractor’s obligation arising from the bid for the public tender, published on the Public-Procurement Portal under JN006347/2016 and TED: 2016/S 200-360336 as of 12 October 2016 for the »TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE«

AMOUNT AND CURRENCY OF THE BOND: 21.000,00 euros (twentyonethousand euros)

DOCUMENTS TO BE ATTACHED, IN ADDITION TO THE STATEMENT, TO THE REQUEST FOR PAYMENT, EXPLICITLY DETERMINED IN THE TEXT BELOW: none

LANGUAGE OF THE REQUIRED DOCUMENTS: Slovene or English

MODE OF SUBMISSION: on paper sent as registered mail or any type of express mail or personally or in electronic form via the SWIFT system to address     (enter SWIFT address of the guarantor)

PLACE OF SUBMISSION:             (guarantor enter the address of the branch where is the submission of paper documents, or electronic address for submission in electronic form, such as SWIFT address of the guarantor)

EXPIRY DATE: 31 March 2017

THE PARTY OBLIGED TO PAY THE ARISING COSTS:          (enter name of the client of the guarantee, i.e., the bidder in the public-procurement procedure)

As the Guarantor, we irrevocably commit ourselves with this financial guarantee to pay to the Beneficiary any sum up to the amount determined in this financial guarantee, when the Beneficiary files an appropriate claim for a payment in the above form of submission, signed by the authorised signatory(ies), together with the other documents if required above, and, in any case, together with the Statement of the Beneficiary that can be either included in the Request for Payment or prepared as a separate signed document attached to the Request for Payment or referring to it, and which explains in what sense the Client did not fulfil its commitment relating to the core service.

The Beneficiary has to state in its Statement or its Request for Payment that:

- the Client (the bidder in the public-procurement procedure) withdrew or amended its bid in the period of its validity determined in the bid, or

- the Client, at the request of the Beneficiary, failed to conclude the contract, or

- the Client refuses to submit the advance payment guarantee in accordance with the terms of the contract.

Any request for payment in line with this financial guarantee has to be received within the period of validity of this financial guarantee and to the above place of submission.

In the case that the contracting parties cannot settle a dispute by common consent, they shall abide by the decision of the competent court in Ljubljana.

This financial guarantee is subject to the Uniform Rules for On-Demand Guarantees (EPGP), the version revised in 2010 and published by the ICC under No. 758.

guarantor								                                                                                    (stamp and signature)

FORM 4.5

STATEMENT OF THE BIDDER on obtaining and submitting guarantee for warranty obligations

Company:

Address:

In connection with our application for the public tender which was ordered by Institut "Jozef Stefan", under number JN006347/2016 and TED: 2016/S 200-360336  for »TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE« .

WE HEREBY STATE

that we will be in accordance with the requirements of the tender documentation (within the prescribed period and amount) when signing the handover note able to submit to the contracting authoruty the guarantee for warranty obligations corresponding to 5 % of the total contractual value (including VAT), with validity of 30 (thirty) additional days after the expiry of the warranty period determined in the warranty certificate, all in accordance with the sample of financial guarantee in form 4.6 of the tender documentation.

Guarantee for warranty obligations will be unconditional, irrevocable and payable on first demand.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

FORM 4.6

SAMPLE: GUARANTEE FOR WARRANTY OBLIGATIONS

(in line with the Uniform Rules for On-Demand Guarantees, EPGP 758)

The head of the information about the guarantor (insurance company/bank) or SWIFT key

To: Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana

Date:                     (enter the date of issue)

TYPE:                (enter the type of guarantee: Surety bond of the insurance company/Bid bond from the bank)

NUMBER:          (enter the number of guarantee)

GUARANTOR:   (enter name and address of the insurance company/bank in the place of issue)

CLIENT:          (enter name and address of the client of the guarantee, i.e., the bidder in the public-procurement procedure)

BENEFICIARY: Jožef Stefan Institute, Jamova cesta 39, 1000 Ljubljana

CORE SERVICE: the contractor’s obligation arising for guarantee for warranty obligations from the contract no.   as of …….(enter number and date of the contract abouth the contact of the public tender concluded under JN006347/2016 and TED: 2016/S 200-360336) for the »TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE«

AMOUNT AND CURRENCY:         (enter the highest amount in number and letters and currency)

DOCUMENTS TO BE ATTACHED, IN ADDITION TO THE STATEMENT, TO THE REQUEST FOR PAYMENT, EXPLICITLY DETERMINED IN THE TEXT BELOW: none

LANGUAGE OF THE REQUIRED DOCUMENTS: Slovene or English

MODE OF SUBMISSION: on paper sent as registered mail or any type of express mail or personally or in electronic form via the SWIFT system to address       (enter SWIFT address of the guarantor)

PLACE OF SUBMISSION:                   (guarantor enter the address of the branch where is the submission of paper documents, or electronic address for submission in electronic form, such as SWIFT address of the guarantor)

EXPIRY DATE: DD.MM.YYYY (enter date of the maturity of the guarantee)

THE PARTY OBLIGED TO PAY THE ARISING COSTS:          (enter name of the client of the guarantee, i.e., the bidder in the public-procurement procedure)

As the Guarantor, we irrevocably commit ourselves with this financial guarantee to pay to the Beneficiary any sum up to the amount determined in this financial guarantee, when the Beneficiary files an appropriate claim for a payment in the above form of submission, signed by the authorised signatory(ies), together with the other documents if required above, and, in any case, together with the Statement of the Beneficiary that can be either included in the Request for Payment or prepared as a separate signed document attached to the Request for Payment or referring to it, and which explains in what sense the Client did not fulfil its commitment relating to the core service.

Any request for payment in line with this financial guarantee has to be received within the period of validity of this financial guarantee and to the above place of submission.

In the case that the contracting parties cannot settle a dispute by common consent, they shall abide by the decision of the competent court in Ljubljana.

This financial guarantee is subject to the Uniform Rules for On-Demand Guarantees (EPGP), the version revised in 2010 and published by the ICC under No. 758.

guarantor								                                                                                    (stamp and signature)

Bidder submit to the bid the statement of the bidder to obtain guarantee for warranty obligations in accordance with the above sample.

This sample is only initialed and stamped by the bidder.

FORM 5

7. SAMPLE CONTRACT

No.:

Jožef Stefan Institute,

Jamova cesta 39,

1000 Ljubljana,

Slovenia,

represented by the Director, prof. dr. Jadran Lenarčič, henceforth referred to as “the Client”,

VAT number: SI55560822

and

, (name)

, (address)

,

represented by the Director, …………., henceforth referred to as “the Supplier”,

VAT number:

have agreed on the following

CONTRACT

INTRODUCTORY PROVISIONS

Article 1

The contracting parties agree that the Client carried out the open procedure related to the submission of Public Procurement based on Article 40 of the Public Procurement Act (Official Gazette of the Republic Slovenia, No. 91/2015; henceforth as “PPA-3”) for the purchase of a “TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE” published on the Public Procurement Portal of Republic of Slovenia, on 12 October 2016 under the no JN006347/2016 and in the Official Gazette of EU, No. TED: 2016/S 200-360336 on 12 October 2016. The Client has on selected the Supplier as the most favourable Supplier by the decision on awarding the contract for the realization of the Public Tender, who is professionally and technically capable to realize the purchase order of this contract.

SUBJECT OF THE CONTRACT

Article 2

Subject of the contract is the purchase of “TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE”.

The bid and the procurement documents, together with technical specifications, shall constitute an integral part of this contract.

VALUE OF THE CONTRACT

Article 3

The value of the above equipment is …….………….. . The price does not include the VAT.

DELIVERY TERMS

Article 4

The delivery period for the equipment that is the subject of this contract is ………......... after the date of the contract.

The Supplier shall provide, without additional cost to the Client, transportation including insurance and functional installation of the equipment at the Client’s address, with coverage at the Client’s address. The Supplier shall notify the Client of the intended delivery by fax, e-mail, in writing or by telephone, at least 3 working days prior to the delivery.

The Client shall sign the handover note after the equipment has been correctly delivered.

The Supplier must, in the case of late delivery, which is not due to force majeure or other reasons on the part of the Client, pay a contractual penalty to the Client. The contractual penalty shall be charged in the payment of the contract price. The parties agree that the Client does not have to notify the Supplier that it reserves the right to contractual penalties if it has received the goods after the Supplier delayed its delivery. In the case of the Supplier’s late delivery, where the Client has damage, which is over the contractual penalty, the Client may require the Supplier’s compensation for all damage delayed. The Supplier can cancel the contract in the case the Client cause a major damage with late payment or if it is obvious that the Client within a reasonable time is not able to pay the full purchase price. In the case of termination of the contract the parties shall immediately settle all debts under this contract, contractual penalty, default interest and any recorded damage.

PAYMENT TERMS

Article 5

The Supplier shall issue the invoices to the Client in the following order:

- 20% payment in advance after receipt of the signed contract and the order, payable on receipt of proforma invoice and an advance payment guarantee

- 60% payment payable on receipt of final invoice after delivery of the equipment,

- 20% payment payable after installation and technical acceptance, on receipt of final invoice and warranty guarantee

The Client is obliged to pay an invoice for the goods, i.e., the equipment, within 30 days of the correct issuing of the invoice.

The contracting parties agree that, in the case of a late payment, the Client has to pay the default interest.

PAYMENT GUARANTEES

Article 6

Each bidder submits financial guarantee for seriousness of the bid (Promissory note or Surety bond of the insurance company or Bid bond from the bank) in amount of 21.000,00 euros without the VAT. Financial guarantee must be valid at least until 31 March 2017, with possibility of extension.

To guarantee a successful realisation of the contract and ensure prepayment to the Client, the Supplier submits an advance payment guarantee. Validity of such guarantee should be one additional day after the functional installation of the equipment.

With respect to correcting any faults within the warranty period, when signing the handover note, the supplier shall submit to the client the guarantee for warranty obligations corresponding to 5% of the total contractual value (including VAT). Validity of such guarantee should be 30 (thirty) additional days after the expiry of the warranty period determined in the warranty certificate.

ACCEPTANCE

Article 7

The acceptance shall be performed on the basis of the Final acceptance certificate (APPENDIX 1), signed by the authorised representatives of both contracting parties, upon a proper delivery of equipment of adequate quality and quantity.

The Supplier will submit to the Client the following documentation:

- Invoice

- Delivery note (with an exact list of delivered parts, data about the gross and net weight)

- Technical documentation and instructions for use

- Precise installation instructions

- Handover note – final acceptance certificate

- Warranty certificate

The documentation should be in Slovene or English.

The goods that are found to deviate from the tender documentation’s requirements or fail to meet the terms and specifications of this contract, shall be rejected, thus leading to the Supplier’s delay. The same applies if the non-conformity is identified for any of the documents which should be enclosed with the goods. Rejection will be indicated on the Final acceptance certificate.

SUPPLIER GUARANTEES

Article 8

The responsibility for keeping the equipment undamaged is transferred from the Supplier to the Client once the equipment is delivered to the Client.

The Supplier guarantees to the Client:

- that the equipment is new, not used and free of any actual and legal defects;

- that the supplied equipment functions perfectly and that it complies fully with all the technical descriptions, characteristics and specifications, provided by the Client;

- that additional activities related to the supplied equipment (installation and training) are carried out professionally,

- that the Client shall acquire all the rights related to the equipment, while the Supplier shall duly perform all the obligations related to the equipment.

The Supplier provides the Client with a warrantee to cover the quality of the equipment and its smooth operation at least to an extent equal to the extent of the warrantee given by the producer of the equipment to the Supplier, i.e., ……...years following the date of the receipt of the equipment.

During the warrantee period the Supplier shall provide for emergency services responding to the Client by E-mail or telephone within one working day after the receipt of a notification. If an on-site repair service is needed, the Supplier shall provide it typically within 5 working days after the problem has been identified.

ELIMINATION OF ERRORS AND SUPPLY OF SPARE PARTS

Article 9

The Supplier undertakes to eliminate the errors of the delivered goods within the warranty period providing uninterrupted service to its own costs, including transport costs to a specific location. The period of notice is considered to be the time when the message reaches to the supplier at the phone number or e-mail stated in this agreement, provided that it has been awarded by the Client and shall contain at least the necessary data for identification of the goods.

All transport and other costs related to the elimination of errors during the warranty period are charged to the Supplier.

The Supplier commits to provide the spare parts for……….. years. In the case of failure to fulfil obligations, the supplier must reimburse any additional costs and damage to the Client, which would consequently suffer.

FORCE MAJEURE

Article 10

Under Force Majeure are all incidental and unexpected events, which occur independently of the will of the contract parties and which the contract parties could not predict at the time of conclusion of the contract and in any case affect the performance of the contractual obligations.

In the event of Force Majeure the contract party must notify in writing the other party in cases of force majeure and also of its termination. Besides this the contract party must submit to the other party credible evidence of the existence and duration of the Force Majeure in two days after the Force Majeure occurs or terminate.

Neither of the contract parties is not responsible for the failure to fulfil any of its obligations for the reason that have been out of its control.

CONTRACTUAL PENALTY

Article 11

In the case of a delay or incorrect delivery of the equipment, which exceeds two weeks from the Supplier’s committed delivery date and does not result from a Force Majeure or the reasons on the part of the Client, the Supplier shall pay a contractual penalty in the amount of 0,5 % of the contractual value for each day of delay in excess of 2 weeks, up to a maximum amount of 10 % of the contractual amount. The contractual penalty shall be subtracted from the Client's payment.

AUTHORISED PERSONS

Article 12

Each party shall nominate representatives, responsible for the realization of the Contract, i.e.: for the Contracting Authority it is                                     ; for the Bidder it is                           .

DISPUTE SETTLEMENT

Article 13

The contracting parties shall resolve any disagreement relating to the realisation of this contract by common consent.

In the case that the contracting parties cannot settle a dispute by common consent, they shall abide by the decision of the competent court in Ljubljana.

ANTI-CORRUPTION CLAUSE

Article 14

If it is found that, during the execution of the public tendering, on the basis of which this contract has been made, or during the execution of this contract, anyone acting in the name of – or on the account of – the Supplier, has promised, offered or given any undue advantage to the Client (the contracting authority), or those employees that had a decisive influence on the choice of the Supplier, in order:

  - to win this public contract,

  - to conclude this contract under more favourable conditions,

  - to omit due diligence in the supervision of the contract implementation,

  - to carry out any other act or omission causing damage to the Client or allowing the Client or its employees to obtain an undue advantage,

this contract will be void.

In the case of an alleged existence of the conditions from the first paragraph of this article or from a notification of the Commission for the Prevention of Corruption, or any other responsible body, relating to their alleged existence, the Client shall initiate the proceedings for invalidity of the contract from the first paragraph of this article, or any other measures, in line with the regulations of the Republic of Slovenia.

TERMINATION OF THE CONTRACT

Article 15

This Contract ceases to be valid if the Contacting Authority is informed that the competent State Authority or Court had established with a final decision that the Bidder (respectively the Contractor or his Subcontractor) has infringed applicable obligations in the area of environmental, social and labour law.

FINAL PROVISIONS

Article 16

The contracting parties shall determine all the amendments to this contract, after a previously reached agreement, with the annexes to this contract.

This contract comes into force on the day when it is signed by both contracting parties.

The contract is drawn up in four identical copies so that each contracting party receives two copies.

| CLIENT: |  | SUPPLIER: |
| --- | --- | --- |
| Jožef Stefan Institute |  |  |
| Director: |  | Director: |
| Prof. Dr. Jadran Lenarčič |  |  |
| Date: |  | Date: |

We herewith declare that the format of this sample contract is acceptable for the bidder.

|  |  | The bidder: |
| --- | --- | --- |
| (place, date) | (stamp) | (signature of the representative) |

appendix 1: Acceptance certificate for

»TWO-PHOTON 3D STED SUPERRESOLUTION FLUORESCENCE MICROSCOPE«

THE SUPPLIER:

| Name: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |
| VAT identification number: |  |  |  |  |  |  |
| Contact person's: |  |  |  |  |  |  |
| Contact person's E-mail address: |  |  |  |  |  |  |
| Person responsible for signing the contract: |  |  |  |  |  |  |
| Contract No.: |  |  |  |  |  |  |
| Following Delivery note Nr. |  |  | of |  | herewith we issue : |  |

| FINAL ACCEPTANCE CERTIFICATE |  | * No. |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *this number is issued by the warehouse | place: |  |  |  |  |
|  | date: |  |  |  |  |

| Type of purchasing: |  |  |  | Service |  |  |  | Material | X | Equipment |  |  |  |  | Construction |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Delivery method: | x |  | Supplier |  |  |  | JSI arrangement: |  |  |  |  | Other: |  |  |  |  |

| Nr. | Findings |  | YES |  | NO |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | All the ordered parts or services have been delivered. |  |  |  |  |  |
| 2 | The quality of the supplied parts or services complies with all the terms of the purchase agreement. |  |  |  |  |  |
| 3 | The required quantity of individual components or services has been supplied. |  |  |  |  |  |
| 4 | All the required or necessary documentation is included. |  |  |  |  |  |
| 5 | All the manuals including the instruction for use are included. |  |  |  |  |  |
| 6 | All the other required acceptance tests have been carried out (QA) |  |  |  |  |  |
| According to the above findings, we confirm acceptance |  |  |  |  |  |  |

Additional comments:

Supplier shall receive a copy of the signed final acceptance certificate.

| The Supplier: |  | Institut “Jožef Stefan” |  |
| --- | --- | --- | --- |
| (name and surname of the supplier’s representative) |  | (name and surname of the responsible for the equipment) |  |

appendix 2: Envelope for

SUBMISSION OF THE BID

(completed by the sender and stuck on to the outer envelope of the bid)

| Sender: |  |
| --- | --- |
| Recipient: Institut »Jožef Stefan« vlozisce Jamova cesta 39 SI-1000 Ljubljana SLOVENIA Phone: +386-1-477-3517 Fax: +386-1-477-3189 |  |
| NE ODPIRAJ, PONUDBA! »DVOFOTONSKI 3D STED SUPERLOČLJIVI FLOURESCENČNI MIKROSKOP«. (Public procurement title in Slovene). JN006347/2016 and TED: 2016/S 200-360336. (Publication number on Portal of the Republic of Slovenia or EU). |
| (Date and time – Datum in ura) | (Receiving order – Zaporedna številka predložitve) |